NEXT-GEN WATER MANAGEMENT

ABSTRACT

Water is one of the most essential natural resources, yet a significant portion of the treated

water supplied by municipal systems is lost before reaching consumers. This loss, known as

Non-Revenue Water (NRW), includes physical losses due to leaks, bursts, and faulty

connections, as well as commercial losses caused by theft, and unauthorized consumption.

Addressing NRW is crucial to ensure sustainable water management, operational efficiency,

and equitable distribution. This project presents an IoT-based real-time monitoring system designed to detect and minimize non-revenue water losses in urban and rural distribution networks. The proposed solution integrates sensors to identify leaks, bursts, or thefts promptly. Water flow sensors are installed at strategic points in the distribution network to continuously measure parameters such as flow rate, pressure variations, and volume of water supplied. The collected data is transmitted to a ESP8266-12E. A data processing algorithm analyzes the real-time data to detect anomalies by comparing expected and actual water flow patterns. Sudden drops in pressure or unexplained flow deviations are flagged as potential leakages or illegal connections. Once an anomaly is detected, the system automatically generates alerts and notifications to the concerned authorities through a web-based dashboard or mobile application. This enables timely intervention, reducing water wastage and operational costs. The developed monitoring interface displays live data visualization, water consumption trends, and providing actionable insights for utility operators. The proposed system offers a cost-effective, scalable, and efficient solution to combat non revenue water losses. By implementing this technology, water authorities can significantly enhance supply reliability, improve revenue collection, and contribute to sustainable resource management. The project demonstrates how the integration of IoT can revolutionize traditional water distribution systems and support smart city initiatives.

In conclusion, this real-time monitoring system effectively bridges the gap between technology and sustainability by enabling proactive water loss management and ensuring efficient utilization of one of the planet’s most precious resources.